## Total abstract
Water consumption and waste water generation by the Industries discharging directly or indirectly into river Yamuna
District wise abstract for industries (total)
District Wise | No. of Industries | Industrial Water Consumption in KLD | Industrial effluent generation in KLD (trade effluent) | No. of CETP |  | CETP capacity (in KLD) |  |  | Final mode of disposal of trade effluent in dreams /River nearby (in KLD)
|  |  |  | Existing | Proposed | Existing | Proposed | Under commissioning | Treated | Untreated
Gurugram | 528 | 13382.25 | 11418.9 | 2 | 0 | 55000 | 0 | 0 | 11418.9 | 0
Nuh | 1 | 1156.25 | 925 | 0 | 0 | 0 | 0 | 0 | 925
Yamuna Nagar | 142 | 18175.1 | 16420.9 | 0 | 0 | 0 | 0 | 0 | 16420.9 | 0
Karnal | 9 | 48.9 | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0
Rohtak | 72 | 1548.25 | 1548.25 | 1 | 1 | 10 | 0 | 3000 | 1548.25 | 0
Jhajjar | 270 | 464.59 | 465.59 | 0 | 2 | 0 | 22500 | 0 | 465.59 | 0
Faridabad | 712 | 16678.8 | 14793.8 | 1 | 0 | 650 | 0 | 0 | 14793.8 | 0
Palwal | 14 | 2918.1 | 2734.4 | 0 | 0 | 0 | 0 | 0 | 2734.4 | 0
Panipat | 346 | 73453.54 | 65696.97 | 1 | 2 | 21000 | 33000 | 12000 | 65696.97 | 0
Sonepat | 503 | 15668.5 | 15668.5 | 4 | 2 | 25200 | 41800 | 0 | 15668.5 | 0
Total | 2597 | 143494.28 | 129698.31 | 9 | 7 | 101860 | 97300 | 15000 | 129698.31 | 0
Industrial Effluent generation and treatment details
District Wise | Sr. No. | Name of the Town or City and District | Sector | No. of Industries | Industrial Water Consumption in KLD | Source of Water supply | Industrial effluent generation in KLD (trade effluent) | No. of CETP |  | CETP capacity (in KLD) |  |  | Final mode of disposal of trade effluent in dreams /River nearby (in KLD)
[8 empty] | Existing | Proposed | Existing | Proposed | Under commissioning | Treated | Untreated
Gurugram | 1 | Udyog Vihar Phase I to V / Gurugram | Readymade Garments | 75 | 2167.68 | Municipal Supply | 1734.15 | ETP installed |  |  |  |  | 1734.15 | 0
|  |  | Service Station | 4 | 27.5 | Municipal Supply | 22 | ETP installed |  |  |  |  | 22 | 0
|  |  | Sample Testing Lab | 4 | 27.125 | Municipal Supply | 21.7 | ETP installed |  |  |  |  | 21.7 | 0
|  |  | Electroplating | 5 | 11.75 | Municipal Supply | 9.4 | ETP installed |  |  |  |  | 9.4 | 0
|  |  | Phosphating | 4 | 15 | Municipal Supply | 12 | ETP installed |  |  |  |  | 12 | 0
|  |  | Formulation | 2 | 1.5 | Municipal Supply | 1.2 | ETP installed |  |  |  |  | 1.2 | 0
|  |  | Auto Part | 1 | 6.25 | Municipal Supply | 5 | ETP installed |  |  |  |  | 5 | 0
|  |  | Beverages | 1 | 750 | Municipal Supply | 600 | ETP installed |  |  |  |  | 600 | 0
|  |  | Food & Food processing | 1 | 25 | Municipal Supply | 20 | ETP installed |  |  |  |  | 20 | 0
|  |  | forging | 1 | 4.4375 | Municipal Supply | 3.55 | ETP installed |  |  |  |  | 3.55 | 0
|  |  | Printing | 1 | 1.25 | Municipal Supply | 1 | ETP installed |  |  |  |  | 1 | 0
| 2 | Sohna/ Gurugram | Auto Part | 1 | 3 | Municipal Supply | 2.4 | ETP installed |  |  |  |  | 2.4 | 0
|  |  | Bulk drugs | 1 | 18.75 | Municipal Supply | 15 | ETP installed |  |  |  |  | 15 | 0
|  |  | Malt | 1 | 237.5 | Municipal Supply | 190 | ETP installed |  |  |  |  | 190 | 0
|  |  | phosphating | 1 | 5 | Municipal Supply | 4 | ETP installed |  |  |  |  | 4 | 0
|  |  | Readymade Garments | 1 | 2.5 | Municipal Supply | 2 | ETP installed |  |  |  |  | 2 | 0
|  |  | Electroplating | 1 | 1 | Municipal Supply | 0.8 | ETP installed |  |  |  |  | 0.8 | 0
| 3 | Sector 37 Pace City I / Gurugram | Electroplating | 6 | 36.5 | Municipal Supply | 29.2 | ETP installed |  |  |  |  | 29.2 | 0
|  |  | Service Station | 3 | 23.125 | Municipal Supply | 18.5 | ETP installed |  |  |  |  | 18.5 | 0
|  |  | Readymade garments | 2 | 15 | Municipal Supply | 12 | ETP installed |  |  |  |  | 12 | 0
|  |  | Formulation | 1 | 10 | Municipal Supply | 8 | ETP installed |  |  |  |  | 8 | 0
|  |  | Malt | 1 | 193.75 | Municipal Supply | 155 | ETP installed |  |  |  |  | 155 | 0
| 4 | Sector 33/ Gurugram | Automobile | 1 | 637.5 | Municipal Supply | 510 | ETP installed |  |  |  |  | 510 | 0
|  |  | Home furnishing item | 1 | 1.25 | Municipal Supply | 1 | ETP installed |  |  |  |  | 1 | 0
|  |  | Service station | 1 | 10 | Municipal Supply | 8 | ETP installed |  |  |  |  | 8 | 0
| 5 | Sector 32/ Gurugram | Sample Testing lab | 2 | 21.5625 | Municipal Supply | 17.25 | ETP installed |  |  |  |  | 17.25 | 0
| 6 | Secotr 15/ Gurugram | Service Station | 1 | 7.5 | Municipal Supply | 6 | ETP installed |  |  |  |  | 6 | 0
| 7 | Sector 18 / Gurugram | Auto Part | 4 | 117.25 | Municipal Supply | 93.8 | ETP installed |  |  |  |  | 93.8 | 0
|  |  | Electroplating | 4 | 433.125 | Municipal Supply | 346.5 | ETP installed |  |  |  |  | 346.5 | 0
|  |  | Service Station | 7 | 45 | Municipal Supply | 36 | ETP installed |  |  |  |  | 36 | 0
|  |  | Sample Testing lab | 3 | 188.4375 | Municipal Supply | 150.75 | ETP installed |  |  |  |  | 150.75 | 0
|  |  | Readymade Garments | 3 | 68.75 | Municipal Supply | 55 | ETP installed |  |  |  |  | 55 | 0
|  |  | Food & Food Processing | 2 | 32.5 | Municipal Supply | 26 | ETP installed |  |  |  |  | 26 | 0
|  |  | DG repair | 1 | 1.5 | Municipal Supply | 1.2 | ETP installed |  |  |  |  | 1.2 | 0
|  |  | Formulation | 1 | 75 | Municipal Supply | 60 | ETP installed |  |  |  |  | 60 | 0
|  |  | phosphating | 1 | 10 | Municipal Supply | 8 | ETP installed |  |  |  |  | 8 | 0
| 8 | Basai / Gurugram | Rubber product | 1 | 62.5 | Municipal Supply | 50 | ETP installed |  |  |  |  | 50 | 0
| 9 | Daultabad / Gurugram | Electroplating | 4 | 12.125 | Municipal Supply | 9.7 | ETP installed |  |  |  |  | 9.7 | 0
|  |  | Printing | 1 | 17.5 | Municipal Supply | 14 | ETP installed |  |  |  |  | 14 | 0
|  |  | Readymade Garments | 1 | 60 | Municipal Supply | 48 | ETP installed |  |  |  |  | 48 | 0
|  |  | Service station | 1 | 8.125 | Municipal Supply | 6.5 | ETP installed |  |  |  |  | 6.5 | 0
| 10 | IDC / Gurugram | Electroplating | 5 | 15.0625 | Municipal Supply | 12.05 | ETP installed |  |  |  |  | 12.05 | 0
|  |  | Service Station | 11 | 124.125 | Municipal Supply | 99.3 | ETP installed |  |  |  |  | 99.3 | 0
|  |  | readymade garments | 1 | 25 | Municipal Supply | 20 | ETP installed |  |  |  |  | 20 | 0
|  | Manesar Town | Automotive Parts - 42, Alluminium Parts - 13, Plastic components - 12, Phosphating - 11, Electroplating - 21, Job Work - 12, Fabrication - 13, Readymade Garments - 31, Food industry - 8, Medical products - 12, Printing / spray painting - 15 | 190 | 3254.3 | HSIIDC Supply | 2723.06 | 1 | NIL | 55000 | NIL | NIL | 2723.06 | NIL
|  | Sector-37, Pace City II, Gurugram | Automobile Parts 18 Home Furnishing -22 Readymade Garment-43 Fabrication-05 Food & Food procssing-09 Service Station-13 Job work-08 Power coating-05 | 123 | 4274 | Municipal Supply | 4041.13 | ETP installed |  |  |  |  | 4041.13 | 0
|  | Pataudi Town (Binola, Pathreri and Bhora kalan) | Automotive parts - 3, sheet metal component - 4, fasteners - 1 | 8 | 163.52 | Ground Water & HUDA supply | 127.56 | NIL | NIL | NIL | NIL | NIL | 127.56 | NIL
|  | Gurugram Town (Village-Khandsa, Begumpur Khatola, Narsingpur, Behrampur & sector-34, sector-37) | Electroplating - 27, Powder coating - 5 | 32 | 133 | Ground Water & HUDA supply | 81.2 | 1 | NIL | 200 (Pace City-II, sector-37) | NIL | NIL | 81.2 | NIL
|  | Total |  | 528 | 13382.25 |  | 11418.9 | 2 |  | 55000 |  |  | 11418.9 | 0
Nuh |  | Punhana/Nuh | Slaughter House | 1 | 1156.25 | Municipal Supply | 925 | ETP installed |  |  |  |  | 925 | 0
|  | Total |  | 1 | 1156.25 |  | 925 | [5 empty] | 925 | 0
Yamuna Nagar |  | Jagadhri | Metal | 93 | 235.1 | Govt. Supply | 189.9 | 0 | 0 | 0 | 0 | 0 | 189.9 | 0
|  |  | Electroplating | 1 | 4.5 | Tubewell | 4 | 0 | 0 | 0 | 0 | 0 | 4 | 0
|  |  | Service Station | 8 | 54.5 | Govt. Supply | 47.5 | 0 | 0 | 0 | 0 | 0 | 47.5 | 0
|  |  | HCF | 18 | 33 | Govt. Supply | 16.5 | 0 | 0 | 0 | 0 | 0 | 16.5 | 0
|  | Yamuna Nagar | Pulp & Paper | 1 | 15400 | Tubewell | 14000 | 0 | 0 | 0 | 0 | 0 | 14000 | 0
|  |  | Distillery | 1 | 9 | Tubewell | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Sugar Mill | 1 | 682 | Tubewell | 639 | 0 | 0 | 0 | 0 | 0 | 639 | 0
|  |  | Starch Mill | 1 | 1170 | Tubewell | 1130 | 0 | 0 | 0 | 0 | 0 | 1130 | 0
|  |  | Metal | 2 | 5 | Govt. Supply | 4 | 0 | 0 | 0 | 0 | 0 | 4 | 0
|  |  | HCF | 11 | 57 | Govt. Suply | 13 | 0 | 0 | 0 | 0 | 0 | 13 | 0
|  |  | Electroplating/Pickikiling | 5 | 525 | Govt. Supply | 377 | 0 | 0 | 0 | 0 | 0 | 377 | 0
|  | Total |  | 142 | 18175.1 |  | 16420.9 | 0 | 0 | 0 | 0 | 0 | 16420.9 | 0
Karnal |  | Karnal | Forumulation of Medicines Units | 6 | 6 | Govt. Suuply | 3.5 | 0 | 0 | 0 | 0 | 0 | 3.5 | 0
|  |  | Electroplating | 1 | 1.9 | Govt. supply | 1.5 | 0 | 0 | 0 | 0 | 0 | 1.5 | 0
|  |  | Industry (Agriculture Impliments) | 1 | 40 | Govt. Supply | 20 | 0 | 0 | 0 | 0 | 0 | 20 | 0
|  |  | Service Station | 1 | 1 | Govt. Supply | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0
|  | Total |  | 9 | 48.9 |  | 26 | 0 | 0 | 0 | 0 | 0 | 26 | 0
Rohtak |  | HSIIDC Kutana, Rohtak | Electroplating | 7 | 5.75 | HSIIDC supply | 5.75 | 0 | 1 | 0 | 0 | 3000 | 48.25 | -
|  |  | Lead Ingots | 7 | 0 | - | 0
|  |  | Lubricant oil | 1 | 0 | - | 0
|  |  | Solvent Extraction | 1 | 0 | - | 0
|  |  | Washing and servicing of vehciles | 1 | 2 | HSIIDC supply | 2
|  |  | Wire Drawing | 1 | 1 | HSIIDC supply | 1
|  |  | Zinc Smelter | 1 | 0 | - | 0
|  | IDC, Hissar Road, Rohtak | Acid Pickling | 11 | 28 | HSIIDC supply | 28
|  |  | Acid Slury | 2 | 0 | - | 0
|  |  | Barrium Nitrate | 2 | 0 | - | 0
|  |  | Electroplating | 7 | 9 | HSIIDC supply | 9
|  |  | Forging | 1 | 0 | - | 0
|  |  | Lead Ingots | 8 | 0 | - | 0
|  |  | Zinc Ingots | 1 | 0 | - | 0
|  |  | Formulation of pesticides | 1 | 0 | - | 0
|  |  | Used Oil | 3 | 2.5 | HSIIDC supply | 2.5
|  | IMT, Rohtak | Different products | 17 | 1500 | HSIIDC supply | 1500 | 1 | 0 | 10 | 0 | 0 | 1500 | -
|  | Total |  | 72 | 1548.25 |  | 1548.25 | 1 | 1 | 10 | 0 | 3000 | 1548.25
Jhajjar |  | Indl. Area (HSIIDC, Bahadurgarh) | Footwear | 13 | 0 | - | 0 | 0 | 1 | 0 | 12500 | The CETP will be commissioned in Feb 2019 as informed by HSIIDC. | 108.3 | -
|  |  | Cotton coated fabric | 17 | 0 | - | 0
|  |  | Electroplating | 1 | 2.5 | HSIIDC supply | 2.5
|  |  | Lead Acid Battery | 2 | 8.1 | HSIIDC supply | 8.1
|  |  | Lubricant Oil | 1 | 0 | 0 | 1
|  |  | Milk & cheese | 1 | 12 | HSIIDC supply | 12
|  |  | Phosphating | 3 | 15.5 | HSIIDC supply | 15.5
|  |  | Chemical reaction | 1 | 0 | - | 0
|  |  | Casting | 1 | 0 | - | 0
|  |  | Aluminium based product | 3 | 0 | - | 0
|  |  | Formulation of pesticides & pharmaceuticals | 2 | 0 | - | 0
|  |  | Different Products | 26 | 70.2 | HSIIDC supply | 70.2
|  | MIE-Bahadurgarh | C.I. casting | 15 | 0 | - | 0 | 0 | 1 | 0 | 10000 | The CETP will be commissioned upto 30.06.2020 | 126.57 | -
|  |  | Cotton Coated fabric | 8 | 0 | - | 0
|  |  | Dyeing of fabrics | 6 | 21.3 | HUDA supply | 21.3
|  |  | Electroplating | 11 | 9.1 | HUDA supply | 9.1
|  |  | Footwear | 9 | 0 | - | 0
|  |  | Formulation of pesticides | 9 | 0 | - | 0
|  |  | Wet blue to finish leather | 9 | 33.3 | HUDA supply | 33.3
|  |  | Different Products | 103 | 62.87 | HUDA supply | 62.87
|  | Indl. Area (Old Inds. Area, Bahadurgarh) | Different Products | 6 | 1.3 | PHED supply | 1.3 | 0 | 0 | 0 | 0 | 0 | 1.3 | 0
|  | Ganpati Dham Inds. Area, Bahadurgarh | Different Products | 5 | 14.9 | PHED supply | 14.9 | 0 | 0 | 0 | 0 | 0 | 14.9 | 0
|  | Rohak Road, Bahadurgarh | Different Products | 11 | 164.52 | PHED supply | 164.52 | 0 | 0 | 0 | 0 | 0 | 164.52 | 0
|  | VPO-Parnala, Bahadurgarh | Dyeing of fabrics | 7 | 49 | PHED supply | 49 | 0 | 0 | 0 | 0 | 0 | 49 | 0
|  | Total |  | 270 | 464.59 | 0 | 465.59 | 0 | 2 | 0 | 22500 | 0 | 464.59
Faridabad |  | Faridabad District Ballabgarh Town (Sector-25) | Dyeing | 7 | 2157.8 | MCF/Borewell/tanker/HSIIDC/HUDA | 2120 | ETP Installed |  |  |  |  | 2120 | 0
|  |  | Surface treatment | 9 | 80.6 | MCF/Borewell/tanker/HSIIDC/HUDA | 50.7 | ETP Installed |  |  |  |  | 50.7 | 0
|  |  | Food/Milk | 1 | 78 | MCF/Borewell/tanker/HSIIDC/HUDA | 68 | ETP Installed |  |  |  |  | 68 | 0
|  |  | Aluminium Di Casting | 3 | 33.2 | MCF/Borewell/tanker/HSIIDC/HUDA | 27.5 | ETP Installed |  |  |  |  | 27.5 | 0
|  |  | Inorganic Chemical manufacturing | 2 | 248 | MCF/Borewell/tanker/HSIIDC/HUDA | 226 | ETP Installed |  |  |  |  | 226 | 0
|  | Faridabad District Ballabgarh Town (Sector-24) | Dyeing | 8 | 459.25 | MCF/Borewell/tanker/HSIIDC/HUDA | 416 | ETP Installed |  |  |  |  | 416 | 0
|  |  | Surface treatment | 40 | 575.21 | MCF/Borewell/tanker/HSIIDC/HUDA | 281.76 | ETP Installed |  |  |  |  | 281.76 | 0
|  |  | Die Casting | 2 | 15 | MCF/Borewell/tanker/HSIIDC/HUDA | 10.5 | ETP Installed |  |  |  |  | 10.5 | 0
|  |  | Expandable polystyrene resin | 1 | 9 | MCF/Borewell/tanker/HSIIDC/HUDA | 6 | ETP Installed |  |  |  |  | 6 | 0
|  | Faridabad District Ballabgarh Town (Sector-58) | Dyeing | 13 | 1271.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 1153 | ETP Installed |  |  |  |  | 1153 | 0
|  |  | Surface treatment | 12 | 249.55 | MCF/Borewell/tanker/HSIIDC/HUDA | 156.85 | ETP Installed |  |  |  |  | 156.85
|  |  | Die Casting | 1 | 7 | MCF/Borewell/tanker/HSIIDC/HUDA | 6 | ETP Installed |  |  |  |  | 6
|  |  | HWM Recycler | 1 | 7 | MCF/Borewell/tanker/HSIIDC/HUDA | 4 | ETP Installed |  |  |  |  | 4
|  |  | Washing of Drum | 1 | 6 | MCF/Borewell/tanker/HSIIDC/HUDA | 5 | ETP Installed |  |  |  |  | 5
|  | Faridabad District Ballabgarh Town (NIT) | Surface treatment | 19 | 315.35 | MCF/Borewell/tanker/HSIIDC/HUDA | 263.05 | ETP Installed |  |  |  |  | 263.05
|  |  | Service Station | 2 | 17 | MCF/Borewell/tanker/HSIIDC/HUDA | 13 | ETP Installed |  |  |  |  | 13
|  |  | Die Casting | 1 | 5 | MCF/Borewell/tanker/HSIIDC/HUDA | 1 | ETP Installed |  |  |  |  | 1
|  |  | Formulation | 1 | 4.5 | Borewell/tanker | 3 | ETP Installed |  |  |  |  | 3
|  | Ballabgarh Town (Mohla) | Dyeing | 2 | 591.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 580 | ETP Installed |  |  |  |  | 580
|  | Faridabad District Ballabgarh Town Electroplating Zone, Sec-58 | Sulphate Treatment | 213 | 298.15 | MCF/Borewell/tanker/HSIIDC/HUDA | 242.9 | 1 | 0 | 650 | 0 | 0 | 242.9 | 0
Faridabad Region |  | DLF-I | Readymade Garments | 23 | 500 | MCF/Borewell/tanker/HSIIDC/HUDA | 450 | ETP Installed |  |  |  |  | 450
|  |  | Service Station | 3 | 96 | MCF/Borewell/tanker/HSIIDC/HUDA | 79 | ETP Installed |  |  |  |  | 79
|  |  | Dyeing | 15 | 1950 | MCF/Borewell/tanker/HSIIDC/HUDA | 1900 | ETP Installed |  |  |  |  | 1900
|  |  | textile | 2 | 480 | MCF/Borewell/tanker/HSIIDC/HUDA | 430 | ETP Installed |  |  |  |  | 430
|  |  | Printing | 1 | 2 | MCF/Borewell/tanker/HSIIDC/HUDA | 1 | ETP Installed |  |  |  |  | 1
|  |  | Hotel | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NIL
|  |  | Electroplating | 2 | 72.2 | MCF/Borewell/tanker/HSIIDC/HUDA | 70 | ETP Installed |  |  |  |  | 70 | 0
|  |  | Phosphating | 3 | 15 | MCF/Borewell/tanker/HSIIDC/HUDA | 13.5 | ETP Installed |  |  |  |  | 13.5 | 0
|  |  | Forging | 3 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Formulations of Pesticides | 3 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Medical Products | 1 | 22 | MCF/Borewell/tanker/HSIIDC/HUDA | 20 | ETP Installed |  |  |  |  | 20
|  |  | Ferrous & Non-ferrous metal extraction involving different furnaces | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Wooden Furniture. | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Dismantling of E-waste | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Others | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Ayurvedic and homeopathic medicine | 2 | 3 | MCF/Borewell/tanker/HSIIDC/HUDA | 2 | I |  |  |  |  | 2
|  |  | Auto Mobile | 1 | 3.6 | MCF/Borewell/tanker/HSIIDC/HUDA | 3.5 | I |  |  |  |  | 3.5
|  |  | Expandable polystyrene resin | 3 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | C.I. casting | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  | DLF-II | Readymade Garments | 4 | 99 | MCF/Borewell/tanker/HSIIDC/HUDA | 88 | I |  |  |  |  | 88
|  |  | Authorized Automobiles Servicing & Washing | 2 | 16.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 15 | I |  |  |  |  | 15
|  |  | Dyeing | 9 | 792 | MCF/Borewell/tanker/HSIIDC/HUDA | 778.3 | I |  |  |  |  | 778.3
|  |  | textile | 1 | 255 | MCF/Borewell/tanker/HSIIDC/HUDA | 250 | I |  |  |  |  | 250
|  |  | Printing | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Phosphating | 2 | 10.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 7.7 | I |  |  |  |  | 7.7
|  |  | Forging | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Casting | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Wooden Furniture. | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Others | 3 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Auto Part | 1 | 1.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 1 | I |  |  |  |  | 1
|  |  | HCF | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Lubricant Oil | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  | Sec-27 | Readymade Garments | 8 | 430 | MCF/Borewell/tanker/HSIIDC/HUDA | 330 | I |  |  |  |  | 330
|  |  | Service Station | 2 | 5.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 4 | I |  |  |  |  | 4
|  |  | Dyeing | 8 | 723.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 700 | I |  |  |  |  | 700
|  |  | Printing | 1 | 6.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 6 | I |  |  |  |  | 6
|  |  | Hotel | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Formulations of Medicines | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Electroplating | 4 | 170 | MCF/Borewell/tanker/HSIIDC/HUDA | 168 | I |  |  |  |  | 168
|  |  | Phosphating | 4 | 64.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 145 | I |  |  |  |  | 145
|  |  | Forging | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Rubber Product | 3 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Metal | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Engineering and fabrication unit | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Wooden Furniture. | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Others | 18 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Ayurvedic and homeopathic medicine | 1 | 3 | MCF/Borewell/tanker/HSIIDC/HUDA | 2 | NR |  |  |  |  | 2
|  |  | Auto Mobile | 3 | 8 | MCF/Borewell/tanker/HSIIDC/HUDA | 5 | I |  |  |  |  | 5
|  |  | Expandable polystyrene resin | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Foam Mfg. | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Lubricant Oil | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Insulation and other coated papers | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | fasteners | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  | Local | Readymade Garments | 3 | 430 | MCF/Borewell/tanker/HSIIDC/HUDA | 352 | I |  |  |  |  | 352
|  |  | Service Station | 3 | 13 | MCF/Borewell/tanker/HSIIDC/HUDA | 9.5 | I |  |  |  |  | 9.5
|  |  | Dyeing | 1 | 20 | MCF/Borewell/tanker/HSIIDC/HUDA | 18 | I |  |  |  |  | 18
|  |  | Food & Food processing | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Hotel | 9 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Formulations of Medicines | 1 | 8 | MCF/Borewell/tanker/HSIIDC/HUDA | 5 | I |  |  |  |  | 5
|  |  | Phosphating | 4 | 57 | MCF/Borewell/tanker/HSIIDC/HUDA | 12 | I |  |  |  |  | 12
|  |  | Forging | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Rubber Product | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Metal | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Casting | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Aluminium based product | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Ferrous & Non-ferrous metal extraction involving different furnaces | 1 | 1.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 1 | I |  |  |  |  | 1
|  |  | Cold storage | 3 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Wire Drawing | 1 | 3 | MCF/Borewell/tanker/HSIIDC/HUDA | 3.5 | I |  |  |  |  | 3.5
|  |  | Others | 12 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | HCF | 53 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Auto Mobile | 4 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Surface treatment | 1 | 1 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | I |  |  |  |  | 0
|  |  | C.I. casting | 7 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  | Mathura Road | Readymade Garments | 2 | 2.5 | MCF/Borewell/tanker/HSIIDC/HUDA | 2 | I |  |  |  |  | 2
|  |  | Service Station | 9 | 100 | MCF/Borewell/tanker/HSIIDC/HUDA | 91 | I |  |  |  |  | 91
|  |  | Dyeing | 4 | 900 | MCF/Borewell/tanker/HSIIDC/HUDA | 843 | I |  |  |  |  | 843
|  |  | Food & Food processing | 1 | 6.8 | MCF/Borewell/tanker/HSIIDC/HUDA | 6 | I |  |  |  |  | 6
|  |  | Printing | 1 | 69 | MCF/Borewell/tanker/HSIIDC/HUDA | 50 | I |  |  |  |  | 50
|  |  | Hotel | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Electroplating | 2 | 2.1 | MCF/Borewell/tanker/HSIIDC/HUDA | 2 | I |  |  |  |  | 2
|  |  | Phosphating | 3 | 510 | MCF/Borewell/tanker/HSIIDC/HUDA | 442 | I |  |  |  |  | 442
|  |  | Forging | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Rubber Product | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Ferrous & Non-ferrous metal extraction involving different furnaces | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Wooden Furniture. | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Dismantling of E-waste | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Others | 15 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | HCF | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Auto Mobile | 4 | 496 | MCF/Borewell/tanker/HSIIDC/HUDA | 450 | I |  |  |  |  | 450
|  |  | Expandable polystyrene resin | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | C.I. casting | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  | Neharpaar | Dyeing | 3 | 700 | MCF/Borewell/tanker/HSIIDC/HUDA | 500 | I |  |  |  |  | 500
|  |  | textile | 1 | 1200 | MCF/Borewell/tanker/HSIIDC/HUDA | 900 | I |  |  |  |  | 900
|  |  | Printing | 1 | 1 | MCF/Borewell/tanker/HSIIDC/HUDA | 2.1 | I |  |  |  |  | 2.1
|  |  | Formulations of Pesticides | 1 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | Others | 30 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  |  | HCF | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 1.4 | NR |  |  |  |  | 1.4
|  |  | Insulation and other coated papers | 2 | 0 | MCF/Borewell/tanker/HSIIDC/HUDA | 0 | NR |  |  |  |  | 0
|  | Total |  | 712 | 16678.81 |  | 14793.76 | 1 | 0 | 650 | 0 | 0 | 14793.76 | 0
Palwal |  | Palwal District | Milk Products | 1 | 1075 | Borewell/tanker | 975 | 0 | 0 | 0 | Nil | Nil | 975 | 0
|  |  | Fabric and dyeing | 4 | 1750 | Borewell/tanker | 1735 | 0 | 0 | 0 | Nil | Nil | 1735 | 0
|  |  | Rice | 1 | 4 | Borewell/tanker | 2 | 0 | 0 | 0 | Nil | Nil | 2 | 0
|  |  | Printing of Packaging Material | 1 | 39.9 | Borewell/tanker | 1.9 | 0 | 0 | 0 | Nil | Nil | 1.9 | 0
|  |  | Wooden Furniture. | 2 | 13.1 | Borewell/tanker | 1.6 | 0 | 0 | 0 | Nil | Nil | 1.6 | 0
|  |  | Electric Panel | 1 | 7 | Borewell/tanker | 2 | 0 | 0 | 0 | Nil | Nil | 2 | 0
|  |  | Steel Parts and bucket of JCB | 2 | 17.4 | Borewell/tanker | 7.4 | 0 | 0 | 0 | Nil | Nil | 7.4 | 0
|  |  | Fabrication unit | 1 | 10 | Borewell/tanker | 9 | 0 | 0 | 0 | Nil | Nil | 9 | 0
|  |  | Battery | 1 | 1.7 | Borewell/tanker | 0.5 | 0 | 0 | 0 | Nil | Nil | 0.5 | 0
|  | Palwal District Hodal Town | R/O/G/W | 0 | 0 | -- | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
|  | Palwal District Hathin Town | R/O/G/W | 0 | 0 | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total |  | 14 | 2918.1 |  | 2734.4 | 0 | 0 | 0 | 0 | 0 | 2734.4 | 0
Panipat |  | Sector-25/1 | Dyeing | 7 | 708.5 | Submersible Pump /HSVP /Canal Supply | 690 | 0 | 0 | 0 | 0 | 0 | 690 | 0
|  | Sector-25/2 | Dyeing | 7 | 631.5 | Submersible Pump /HSVP /Canal Supply | 617.5 | 0 | 0 | 0 | 0 | 0 | 617.5 | 0
|  | Sector-29/1 | Dyeing | 11 | 1298.32 | Submersible Pump /HSVP /Canal Supply | 1276.27 | 0 | 0 | 0 | 0 | 0 | 1276.27 | 0
|  | Sector-29/2 | Dyeing | 188 | 32722.65 | Submersible Pump /HSVP /Canal Supply | 31256 | 1 | 2 | 21000 | 33000 | 12000 | 31256
|  | Old Industrial Area | Dyeing | 37 | 1569.12 | Submersible Pump /HSVP /Canal Supply | 1498.3 | 0 | 0 | 0 | 0 | 0 | 1498.3 | 0
|  | Outside located Industrial Area | Dyeing | 51 | 20484.95 | Submersible Pump /Canal Supply | 14960.5 | 0 | 0 | 0 | 0 | 0 | 14960.5 | 0
|  | Israna | Dyeing | 9 | 1841.5 | Submersible | 1721 | 0 | 0 | 0 | 0 | 0 | 1721 | 0
|  | Madlauda | Dyeing | 6 | 9629.5 | Submersible | 9592 | 0 | 0 | 0 | 0 | 0 | 9592 | 0
|  | Samalkha (Industrial Area) | Dyeing | 7 | 34 | Submersible | 31.3 | 0 | 0 | 0 | 0 | 0 | 31.3 | 0
|  | Samalkha (Outside Industrial Area) | Dyeing | 23 | 4533.5 | Submersible | 4054.1 | 0 | 0 | 0 | 0 | 0 | 4054.1 | 0
|  | Total |  | 346 | 73453.54 |  | 65696.97 | 1 | 2 | 21000 | 33000 | 12000 | 65696.97 | 0
Sonepart |  | Indl. Area, Barhi | Battery assembling | 1 | 1 | Tubewells of HSIIDC | 1 | 1 | 0 | 16000 | 10000 | 0 | 1 | Nil
|  |  | Chemical | 7 | 103.5 | Tubewells of HSIIDC | 103.5 | [5 empty] | 103.5 | Nil
|  |  | Ferrous & Non-ferrous metal extraction involving different furnaces | 3 | 10 | Tubewells of HSIIDC | 10 | [5 empty] | 10 | Nil
|  |  | Food & food processing | 7 | 72.8 | Tubewells of HSIIDC | 72.8 | [5 empty] | 72.8 | Nil
|  |  | Lubricant Oils, Grease | 1 | 0.5 | Tubewells of HSIIDC | 0.5 | [5 empty] | 0.5 | Nil
|  |  | Manufacturing of Glass | 1 | 1.5 | Tubewells of HSIIDC | 1.5 | [5 empty] | 1.5 | Nil
|  |  | Metal surface treatment or process such as pickling/ electroplating/paint stripping/ heat treatment using cyanide bath/ phosphating or finishing and anodizing / enamellings/ galvanizing/ surface finishing/ Buffing / powder coating | 3 | 3 | Tubewells of HSIIDC | 3 | [5 empty] | 3 | Nil
|  |  | Milk processing & Dairy product | 3 | 25.5 | Tubewells of HSIIDC | 25.5 | [5 empty] | 25.5 | Nil
|  |  | Pharmaceuticals | 4 | 19 | Tubewells of HSIIDC | 19 | [5 empty] | 19 | Nil
|  |  | Physical mixing. | 1 | 2 | Tubewells of HSIIDC | 2 | [5 empty] | 2 | Nil
|  |  | Polythene and plastic processed products | 13 | 38.95 | Tubewells of HSIIDC | 38.95 | [5 empty] | 38.95 | Nil
|  |  | POLYTHYLENE WAX, OTHER WAX | 1 | 2 | Tubewells of HSIIDC | 2 | [5 empty] | 2 | Nil
|  |  | Printing. | 5 | 13.6 | Tubewells of HSIIDC | 13.6 | [5 empty] | 13.6 | Nil
|  |  | Recycling / reprocessing/ recovery/reuse of Hazardous Waste | 3 | 2.6 | Tubewells of HSIIDC | 2.6 | [5 empty] | 2.6 | Nil
|  |  | Rubber & Rubber goods product. | 3 | 3.5 | Tubewells of HSIIDC | 3.5 | [5 empty] | 3.5 | Nil
|  |  | Synthetic resins | 1 | 1 | Tubewells of HSIIDC | 1 | [5 empty] | 1 | Nil
|  |  | Tannery | 2 | 30 | Tubewells of HSIIDC | 30 | [5 empty] | 30 | Nil
|  |  | textile | 86 | 11339.7 | Tubewells of HSIIDC | 11339.7 | [5 empty] | 11339.7 | Nil
|  |  | Wooden Furniture. | 1 | 2 | Tubewells of HSIIDC | 2 | [5 empty] | 2 | Nil
|  |  | Cotton coated fabric | 2 | 6 | Tubewells of HSIIDC | 6 | [5 empty] | 6 | Nil
|  |  | Lead acid battery manufacturing | 2 | 8 | Tubewells of HSIIDC | 8 | [5 empty] | 8 | Nil
|  |  | Zinc Ingots | 1 | 1 | Tubewells of HSIIDC | 1 | [5 empty] | 1 | Nil
|  | Indl. Area (Kundli) | Chemical | 1 | 1 | Tubewells of HSIIDC | 1 | 1 | 1 | 4000 | 15000 | 0 | 1 | Nil
|  |  | Cold storage | 17 | 18.1 | Tubewells of HSIIDC | 18.1 | [5 empty] | 18.1 | Nil
|  |  | Engineering and fabrication unit | 1 | 1 | Tubewells of HSIIDC | 1 | [5 empty] | 1 | Nil
|  |  | Ferrous & Non-ferrous metal extraction involving different furnaces | 10 | 25.5 | Tubewells of HSIIDC | 25.5 | [5 empty] | 25.5 | Nil
|  |  | Foam Mfg. | 2 | 2 | Tubewells of HSIIDC | 2 | [5 empty] | 2 | Nil
|  |  | Food & food processing | 14 | 316.1 | Tubewells of HSIIDC | 316.1 | [5 empty] | 316.1 | Nil
|  |  | Formaldehyde | 1 | 0.3 | Tubewells of HSIIDC | 0.3 | [5 empty] | 0.3 | Nil
|  |  | Insulation and other coated papers | 1 | 1.5 | Tubewells of HSIIDC | 1.5 | [5 empty] | 1.5 | Nil
|  |  | Manufacturing of Glass | 1 | 4.5 | Tubewells of HSIIDC | 4.5 | [5 empty] | 4.5 | Nil
|  |  | Metal surface treatment or process such as pickling/ electroplating/paint stripping/ heat treatment using cyanide bath/ phosphating or finishing and anodizing / enamellings/ galvanizing/ surface finishing/ Buffing / powder coating | 62 | 471.275 | Tubewells of HSIIDC | 471.275 | [5 empty] | 471.275 | Nil
|  |  | Milk processing & Dairy product | 2 | 324.5 | Tubewells of HSIIDC | 324.5 | [5 empty] | 324.5 | Nil
|  |  | Pharmaceuticals | 6 | 46.7 | Tubewells of HSIIDC | 46.7 | [5 empty] | 46.7 | Nil
|  |  | Physical mixing. | 2 | 2 | Tubewells of HSIIDC | 2 | [5 empty] | 2 | Nil
|  |  | Polythene and plastic processed products | 24 | 71.1 | Tubewells of HSIIDC | 71.1 | [5 empty] | 71.1 | Nil
|  |  | Power press. | 3 | 3 | Tubewells of HSIIDC | 3 | [5 empty] | 3 | Nil
|  |  | Printing. | 12 | 23.6 | Tubewells of HSIIDC | 23.6 | [5 empty] | 23.6 | Nil
|  |  | Recycling / reprocessing/ recovery/reuse of Hazardous Waste | 1 | 0.8 | Tubewells of HSIIDC | 0.8 | [5 empty] | 0.8 | Nil
|  |  | Rice Sheller | 2 | 102 | Tubewells of HSIIDC | 102 | [5 empty] | 102 | Nil
|  |  | Rubber & Rubber goods product. | 2 | 3.5 | Tubewells of HSIIDC | 3.5 | [5 empty] | 3.5 | Nil
|  |  | Synthetic resins | 2 | 0.9 | Tubewells of HSIIDC | 0.9 | [5 empty] | 0.9 | Nil
|  |  | textile | 9 | 488.3 | Tubewells of HSIIDC | 488.3 | [5 empty] | 488.3 | Nil
|  |  | Thermocol | 1 | 0.5 | Tubewells of HSIIDC | 0.5 | [5 empty] | 0.5 | Nil
|  |  | Wire drawing and wire netting | 1 | 1 | Tubewells of HSIIDC | 1 | [5 empty] | 1 | Nil
|  |  | Wooden Furniture. | 1 | 2 | Tubewells of HSIIDC | 2 | [5 empty] | 2 | Nil
|  |  | Cotton coated fabric | 1 | 0.5 | Tubewells of HSIIDC | 0.5 | [5 empty] | 0.5 | Nil
|  |  | Dismantling of E-waste | 1 | 0.8 | Tubewells of HSIIDC | 0.8 | [5 empty] | 0.8 | Nil
|  |  | Gravure printing, digital printing on flex, vinyl | 2 | 3.5 | Tubewells of HSIIDC | 3.5 | [5 empty] | 3.5 | Nil
|  |  | Liquid cleaner for multi purpose | 1 | 1.5 | Tubewells of HSIIDC | 1.5 | [5 empty] | 1.5 | Nil
|  |  | Spray painting, paint baking, paint shipping | 1 | 2 | Tubewells of HSIIDC | 2 | [5 empty] | 2 | Nil
|  | Indl. Area (Rai) | Chemical | 1 | 0.2 | Tubewells of HSIIDC | 0.2 | 1 | 1 | 5000 | 15000 | 0 | 0.2 | Nil
|  |  | Cold storage | 4 | 8.2 | Tubewells of HSIIDC | 8.2 | [5 empty] | 8.2 | Nil
|  |  | Corrugated boxes | 1 | 0.5 | Tubewells of HSIIDC | 0.5 | [5 empty] | 0.5 | Nil
|  |  | Dismantling of E-waste | 4 | 3.5 | Tubewells of HSIIDC | 3.5 | [5 empty] | 3.5 | Nil
|  |  | Engineering and fabrication unit | 1 | 3.5 | Tubewells of HSIIDC | 3.5 | [5 empty] | 3.5 | Nil
|  |  | Ferrous & Non-ferrous metal extraction involving different furnaces | 3 | 1.4 | Tubewells of HSIIDC | 1.4 | [5 empty] | 1.4 | Nil
|  |  | Food & food processing | 34 | 433.25 | Tubewells of HSIIDC | 433.25 | [5 empty] | 433.25 | Nil
|  |  | Lubricant Oils, Grease | 1 | 0.45 | Tubewells of HSIIDC | 0.45 | [5 empty] | 0.45 | Nil
|  |  | Metal surface treatment or process such as pickling/ electroplating/paint stripping/ heat treatment using cyanide bath/ phosphating or finishing and anodizing / enamellings/ galvanizing/ surface finishing/ Buffing / powder coating | 11 | 29.35 | Tubewells of HSIIDC | 29.35 | [5 empty] | 29.35 | Nil
|  |  | Milk processing & Dairy product | 3 | 312.7 | Tubewells of HSIIDC | 312.7 | [5 empty] | 312.7 | Nil
|  |  | Orthopaedic implants | 2 | 2 | Tubewells of HSIIDC | 2 | [5 empty] | 2 | Nil
|  |  | Pharmaceuticals | 3 | 15 | Tubewells of HSIIDC | 15 | [5 empty] | 15 | Nil
|  |  | Physical mixing. | 3 | 4 | Tubewells of HSIIDC | 4 | [5 empty] | 4 | Nil
|  |  | Polythene and plastic processed products | 9 | 70.5 | Tubewells of HSIIDC | 70.5 | [5 empty] | 70.5 | Nil
|  |  | Printing. | 6 | 8.3 | Tubewells of HSIIDC | 8.3 | [5 empty] | 8.3 | Nil
|  |  | Rice Sheller | 1 | 0.5 | Tubewells of HSIIDC | 0.5 | [5 empty] | 0.5 | Nil
|  |  | Rubber & Rubber goods product. | 7 | 3.6 | Tubewells of HSIIDC | 3.6 | [5 empty] | 3.6 | Nil
|  |  | textile | 1 | 3 | Tubewells of HSIIDC | 3 | [5 empty] | 3 | Nil
|  |  | Wire drawing and wire netting | 1 | 0.8 | Tubewells of HSIIDC | 0.8 | [5 empty] | 0.8 | Nil
|  |  | Cashew nut processing | 1 | 1 | Tubewells of HSIIDC | 1 | [5 empty] | 1 | Nil
|  |  | Cosmetic items | 1 | 1 | Tubewells of HSIIDC | 1 | [5 empty] | 1 | Nil
|  |  | Dal Mills | 5 | 4.5 | Tubewells of HSIIDC | 4.5 | [5 empty] | 4.5 | Nil
|  |  | Formulation of pesticides | 2 | 2.5 | Tubewells of HSIIDC | 2.5 | [5 empty] | 2.5 | Nil
|  |  | Gravure printing, digital printing on flex, vinyl | 1 | 1.5 | Tubewells of HSIIDC | 1.5 | [5 empty] | 1.5 | Nil
|  |  | Leather foot wear and leather products | 1 | 1 | Tubewells of HSIIDC | 1 | [5 empty] | 1 | Nil
|  |  | Power press. | 1 | 1 | Tubewells of HSIIDC | 1 | [5 empty] | 1 | Nil
|  |  | Reprocessing of waste plastic including PVC | 1 | 1 | Tubewells of HSIIDC | 1 | [5 empty] | 1 | Nil
|  | Sonipat | Chemical | 1 | 1 | Own Tubewell | 1 | 0 | 0 | 0 | 0 | 0 | 1 | Nil
|  |  | Ferrous & Non-ferrous metal extraction involving different furnaces | 4 | 2.3 | Own Tubewell | 2.3 | [5 empty] | 2.3 | Nil
|  |  | Foam Mfg. | 5 | 3.4 | PHED supply & Own Tubewell | 3.4 | [5 empty] | 3.4 | Nil
|  |  | Health-care Facility | 3 | 21 | PHED supply & Own Tubewell | 21 | [5 empty] | 21 | Nil
|  |  | Metal surface treatment or process such as pickling/ electroplating/paint stripping/ heat treatment using cyanide bath/ phosphating or finishing and anodizing / enamellings/ galvanizing/ surface finishing/ Buffing / powder coating | 7 | 522.55 | Own Tubewell | 522.55 | [5 empty] | 522.55 | Nil
|  |  | Pharmaceuticals | 1 | 4 | Own Tubewell | 4 | [5 empty] | 4 | Nil
|  |  | Printing. | 1 | 0.1 | PHED supply & Own Tubewell | 0.1 | [5 empty] | 0.1 | Nil
|  |  | Recycling / reprocessing/ recovery/reuse of Hazardous Waste | 1 | 0.025 | PHED supply & Own Tubewell | 0.025 | [5 empty] | 0.025 | Nil
|  |  | Rubber & Rubber goods product. | 1 | 0.9 | PHED supply & Own Tubewell | 0.9 | [5 empty] | 0.9 | Nil
|  |  | Service station | 2 | 7.5 | PHED supply & Own Tubewell | 7.5 | [5 empty] | 7.5 | Nil
|  |  | Tannery | 1 | 23.8 | Own Tubewell | 23.8 | [5 empty] | 23.8 | Nil
|  |  | Distillery | 1 | 130 | Own Tubewell | 130 | [5 empty] | 130 | Nil
|  |  | Food & food processing | 5 | 32.35 | Own Tubewell | 32.35 | [5 empty] | 32.35 | Nil
|  |  | Textile | 3 | 339.5 | Own Tubewell | 339.5 | [5 empty] | 339.5 | Nil
|  | Ganaur | Pharmaceutical | 1 | 0.9 | Own Tubewell | 0.9 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0
|  | Indl. Area (Murthal) | Copper smelter | 1 | 0.2 | Tubewells of HSIIDC | 0.2 | 1 | 0 | 200 | 1800 | 0 | 0.2 | Nil
|  |  | Dye & Intermediate | 1 | 1 | Tubewells of HSIIDC | 1 | [5 empty] | 1 | Nil
|  |  | Engineering and fabrication unit | 1 | 9 | Tubewells of HSIIDC | 9 | [5 empty] | 9 | Nil
|  |  | Foam Mfg. | 2 | 0.6 | Tubewells of HSIIDC | 0.6 | [5 empty] | 0.6 | Nil
|  |  | Food & food processing. | 1 | 14 | Tubewells of HSIIDC | 14 | [5 empty] | 14 | Nil
|  |  | Forging. | 1 | 0.4 | Tubewells of HSIIDC | 0.4 | [5 empty] | 0.4 | Nil
|  |  | Lead processing | 1 | 0.2 | Tubewells of HSIIDC | 0.2 | [5 empty] | 0.2 | Nil
|  |  | Metal surface treatment or process such as pickling/ electroplating/paint stripping/ heat treatment | 2 | 7.1 | Tubewells of HSIIDC | 7.1 | [5 empty] | 7.1 | Nil
|  |  | Pharmaceutical | 2 | 12.4 | Tubewells of HSIIDC | 12.4 | [5 empty] | 12.4 | Nil
|  |  | Polythene and plastic processed products manufacturing (virgin plastic) | 1 | 0.8 | Tubewells of HSIIDC | 0.8 | [5 empty] | 0.8 | Nil
|  |  | S.S. / M.S. | 5 | 2.7 | Tubewells of HSIIDC | 2.7 | [5 empty] | 2.7 | Nil
|  |  | Tannery | 1 | 8.5 | Tubewells of HSIIDC | 8.5 | [5 empty] | 8.5 | Nil
|  |  | Wire drawing and wire netting | 1 | 0.5 | Tubewells of HSIIDC | 0.5 | [5 empty] | 0.5 | Nil
|  |  | Zinc Oxide | 1 | 0.2 | Tubewells of HSIIDC | 0.2 | [5 empty] | 0.2 | Nil
|  |  | Zinc Stearates | 1 | 0.7 | Tubewells of HSIIDC | 0.7 | [5 empty] | 0.7 | Nil
|  | Total |  | 503 | 15668.5 |  | 15668.5 | 4 | 2 | 25200 | 41800 | 0 | 15668.5 | 0